/*! \page signal The Signal Interface

The device server signal interface is based on the use of the device server

signal and multi signal classes. They define a signal object for a value

with a set of standard properties and functionality. The implementation of

three commands with standard behaviour in the device class offers a standard

interface to clients. Following this conventions, generic monitoring

applications and the history database can be easily used, without coding,

on the devices of a class.

\section conventions_on_signals Conventions on Signals

The signal class allows the creation of signal objects with a naming convention

as:

\verbatim

DOMAIN/FAMILY/MEMBER/SIGNAL

\endverbatim

The signal name is an extension to the device name used in the ESRF control

system. To create a signal object a name with four fields must be used. This

corresponds to signal naming as it is used in the history database and in

general data display applications.

- A signal represents a simple data value.

- All signals of a class must be of the same data type.

- The data type might be float values or double values.

A special problem is the relation between read and set values. To identify

all signals which can be set clearly the following naming convention must

be respected. A setpoint signal name must be preceded by the identifier "set-".

Example:

\verbatim

SR/RF-FOC/TRA3-1/set-Voltage

\endverbatim

A set-point signal can be modified and its actual value can be read.

In the case of a readable set-point value and a separate read value (as on most

of the power supplies) the read values must keep the same signal name without

the preceding identifier "set-".

Example:

\verbatim

SR/RF-FOC/TRA3-1/Voltage

\endverbatim

With this convention all signals which can be modified can be easily identified.

Also the relation between separate read and set signals can be automatically

established.

\section signal_properties The Signal Properties

A set of signal properties is defined in the signal class. The properties must

be defined for a device class. They are used for signal identification and the

automatic configuration of monitoring and tuning applications and the history

database configuration tool. The properties of a signal object are:

-# Name - The full signal name.

-# Label - A label for the signal value, which can be used in applications.

-# Unit - The unit of the signal value

-# Format - The format in which the data should be displayed (printf() format).

-# Description - A text describing the signal.

-# Max - A maximum value. Can be used for data display or to check limits of

set values.

-# Min - A minimum value. Can be used for data display or to check limits of

set values.

-# AlHigh - Above this limit an alarm will be indicated.

-# AlLow - Under this limit an alarm will be indicated.

-# Delta - If the nominal value and the read value of the signal differ by +/-

delta during the number of seconds specified by "Delta_t" , an alarm will be

raised.

-# Delta_t If the nominal value differs from the read value for a longer time

than Delta_t seconds, an alarm will be raised.

-# Standard Unit - A multiplier factor to convert the given signal unit into a

standard unit (V, A, W, bar ...).

\section server_side  The Server Side

\subsection signal_commands The Commands to Access Signals

Four commands must be defined in a device class to access signals.

- One to read an array of signal values,

- one to identify and to describe each signal value,

- one to update changed signal properties and

- one to set a signal value.

<b>DevReadSigValues</b>

The command reads an array of signal values. The array should contain all signals

for this class. The data type for all signals of a class must be the same. Possible

data types are float values or double values. The command must always return an

array, even if only one signal value is defined. To avoid the polling of several

commands in the data collector, the state of a device should be also treated as a

signal and should be returned as the signal "DOMAIN/FAMILY/MEMBER/State" by this

command. Command list entry:

\code

DevReadSigValues, read_signal_values, D_VOID_TYPE, D_VAR_FLOATARR, READ_ACCESS

\endcode

Command function definition:

\code

long read_signal_values (MDSSignal ds, DevVoid *argin, DevVarFloat Array *argout, long *error);

\endcode

Description: Returns the signal values of a device.

Arg(s) In: None

Arg(s) Out: DevVarFloatArray signal.values - Array of signal values.

long *error - Pointer to error code, in case routine fails.

<b>DevGetSigConfig</b>

The command reads the properties of all signals returned by DevReadSigValues. The

order of the signals must be the same for the two commands. The first value returned

by DevReadSigValues must correspond to the first set of properties returned by

DevReadSigConfig. The properties of all signals of a class are returned as a string

array. The first string (element [0]) must indicate the number of properties per

signal, to have the flexibility to add new properties. The number of elements in

the string array will be:

\verbatim

length = number of properties * number of signals + 1

\endverbatim

The properties of the signals must be added to the string array by using the result

of the method DevMethodReadProperties on the signal or multi signal object (see:

the user guides of the two classes). Command list entry:

\code

DevReadSigConfig, readr_signal_config, D_VOID_TYPE, D_VAR_STRINGARR, READ_ACCESS

\endcode

Command function definition:

\code

long read_signal_config (MDSSignal ds, DevVoid *argin, DevVarStringArray *argout, long *error);

\endcode

Description: Returns the signal properties of all signals of a device.

Arg(s) In: None

Arg(s) Out: DevVarStringArray signal_values - Array of signal properties.

long *error - Pointer to error code, in case routine fails.

<b>DevUpdateSigConfig</b>

The command reinitialises all signal properties of all signals of a device. After

an update of the resource database calling this command reinitialises all signal

properties dynamically with their actual resource values. The goal is an

interactive resource editor with a direct update of the device configuration. The

method DevMethodSignalsReset must be used on the signal or multi signal object

(see: the user guides of the two classes) Command list entry:

\code

DevUpdatedSigConfig, update_signal_config, D_VOID_TYPE, D_VOID_TYPE, WRITE_ACCESS

\endcode

Command function definition:

\code

long update_signal_config (MDSSignal ds, DevVoid *argin, DevVoid *argout, long *error);

\endcode

Description: Reinitialises all signal properties of all signals of a device with the

actual resource values.

Arg(s) In: None

Arg(s) Out: None

<b>DevSetSigValue</b>

Receives a new value for a set-point signal (with "set-" identifier). Verifies the

validity of the given signal name and that the value doesn`t exceed the specified

range for the signal by using the method DevMethodCheckLimits on the signal or multi

signal object (see: the user guides of the two classes). Applies the new set-point.

Command list entry:

\code

DevSetSigValue, set_signal_value, D_STRINGDOUBLE_TYPE, D_VOID_TYPE, WRITE_ACCESS

\endcode

Command function definition:

\code

long set_signal_value (MDSSignal ds, DevStringDouble *argin, DevVoid *argout, long *error);

\endcode

Description: Receives a new value for a signal. Verifies that the value doesn`t

exceed the specified range for the signal. Applies the new set-point.

Arg(s) In: DevStringDouble *argin - Structure containing the name of the signal to

modify as a string and the value to be applied as double.

Arg(s) Out: None

\subsection coding_example  Coding Example using a Multi Signal Object

This example is for a device server written in "C". For the use in a "C++" device

server the multi signal object must be created via the OIC interface, but can be

used with the same functionality. To use a multi signal object it must be created

and initialised in the object_initialise() method:

\dontinclude MDSSignal.c

\skip #include <MDSSignalP.h>

\until #include <MDSSignal.h>

\skip ds__create

\until ds__method_finder

\until return(DS_NOTOK);

\line }

Afterwards two commands can be implemented using the multi signal object:

\code

=====================================================

Function: 	static long read_signal_config()

Description: 	Read the properties of all signals specified

for the focus power supply.

Arg(s) In: 	Focus ds - pointer to object

void *argin - no input arguments

Arg(s) Out: 	DevVarStringArray *argout - Array of signal properties

long *error - pointer to error code, in case routine fails

===================================================== i

static long read_signal_config (Focus ds, DevVoid *argin,

DevVarStringArray *argout, long *error)

{

*error = 0;

if (ds__method__inder (ds->focus.msignal.obj, DevMethodReadProperties)

(ds->focus.msignal_obj, argout, error) == DS_NOTOK)

{

return(DS_NOTOK);

}

return (DS_OK);

}

=====================================================

Function: 	static long update_signal_config()

Description: 	Reinitialises all specified signal properties with

their actual resource values..

Arg(s) In: 	Focus ds - pointer to object

void *argin - no input arguments

Arg(s) Out: 	void *argout - no outgoing arguments

long *error - pointer to error code, in case routine fails

====================================================

static long update_signal_config (Focus ds, DevVoid *argin,

DevVoid *argout, long *error)

{

*error=0;

if (ds__method_finder (ds->focus.msignal_obj, DevMethodSignalsReset)

(ds->focus.msignal.obj, error) == DS_NOTOK)

{

return(DS_NOTOK);

}

return(DS.OK);

}

\endcode

The third command just has to return an array of values which must be ordered

as the signal properties!

\code

====================================================

Function: 	static long read_signal_values()

Description: 	Read the measurement and setpoint values

for this device.

[0] : current setpoint

[1] : voltage

[2] : current

Arg(s) In: 	Focus ds - pointer to object

void *argin - no input arguments

Arg(s) Out: 	DevVarFloatArray *argout - Array of signal values..

long *error - pointer to error code, in case routine fails

=====================================================

static long read_signal_values (Focus ds, DevVoid *argin,

DevVarFloatArray *argout, long *error)

{

static float values[3];

*error = 0;

/*

*	-> Read the signal values here!

*/

argout->length = 3;

argout->sequence = &values[0];

return (DS_OK);

}

\code

The fourth command must treat all available set-points, which are identified by their name.

\code

====================================================

Function: 	static long set_signal_value()

Description: 	Receives a new value for a signal. Verifies that the value

doesn`t exceed the specified range for the signal. Applies

the new set-point.

Arg(s) In: 	Focus ds - pointer to object

DevStringDouble *argin - Structure containing the name of the signal

to modify as a string and the value to be

applied as double.

Arg(s) Out: 	void *argout - no output arguments.

long *error - pointer to error code, in case routine fails

=====================================================

static long set_signal_value (Focus ds, DevStringDouble *argin,

void *argout, long *error)

{

long limit_state;

char *sig_name;

*error = 0;

/*

* Check whether the signal name is a valid set-point signal and

* whether its values are in the specified range.

*/

if (ds__method_finder (ds->focus.msignal_obj, DevMethodCheckLimits)

(ds->focus.msignal_obj, argin, &limit_state, error) == DS_NOTOK)

{

return(DS_NOTOK);

}

if ( limit_state != DEVRUN )

{

*error = DevErr_ValueOutOfBounds;

return (DS_NOTOK);

}

/*

* Find the set-point signal amongst all available set-points and

* apply the new set value.

*/

sig_name = strrchr (argin->name, `/`);

sig_name++;

if ( strcmp (sig_name, "set-Voltage") == 0 )

{

/*

* 	-> Set the value here!

*/

}

if ( strcmp (sig_name, "set-Current") == 0 )

{

/*

*	-> Set the value here!

*/

}

return (DS_OK);

}

\endcode

The multi signal object is also used to handle alarms on signals which change the

state of a device. The method used in the DevState command is DevMethodCheckAlarms

and the method used in the DevStatus command is DevMethodReadAlarms. See the Multi

Signal Class Users Guide for more information.

\section reading_signal_properties Reading the Signal Properties without Accessing the Device

A second way to extract the signal names and properties of a device was developed.

They are read directly from the resource database without a connection to the device.

This interface is used in applications like fsigmon, devsel, hdb config and the hdb

filler which can read data only from the data collector without having access to a

device server running on a VME crate. To use this functionality your client must be

linked with the shared library: libdssig.sl The functions were not integrated to the

TACO API-library, because it uses internally the signal and multi signal classes.

This would cross reference the API-library with the class library. Linking problems

and Makefile changes would be the result. Available functions are:

- dev_get_sig_config()

\code

long dev_get_sig_config (char *device_name, DevVarStringArray *sig_config, long *error);

\endcode

- dev_get_sig_config_from_name()

\code

long dev_get_sig_config_from_name (char *signal_name, DevVarStringArray *sig_config,

long *error);

\endcode

- dev_get_sig_list()

\code

long dev_get_sig_list (char *device_name, DevVarStringArray *sig_list, long *error);

\code

- dev_get_sig_set_list()

\code

long dev_get_sig_set_list (char *device_name, DevVarStringArray *argout, long *error);

\endcode

- dev_get_sig_setread_from_name()

\code

long dev_get_sig_setread (char *signal_name, DevLongString *set_signal,

DevLongString *read_signal, long *error);

\endcode

\section client_side The Client Side

With the described commands, signals can be displayed in a generic way on the

client side.

-# To find out the data type used by the command DevReadSigValues, the function

dev_cmd_query() of the API-library can be used. Filtering for the command indicates

the data type of the outgoing arguments.

-# By executing the command DevReadSigConfig the place of a signal in the array

can be determined by its name. All other properties needed for a signal display

are following the signal name in the described order (see "The Signal Properties"

on page2).

-# DevReadSigValues returns the signal values in the same order as indicated by

DevReadSigConfig.

An example shows how DevReadSigConfig and DevReadSigValues can be used to display

signals in a device server menu. The data type in this case is known and

dev_cmd_query() is not used.

\code

devserver 		device;

DevVarStringArray 	sig_config;

DevVarFloatArray 	param_array;

long 			nu_of_properties;

long 			nu_of_signals;

long 			i, k;

case (3) :

/*

* Read the device signal values.

*/

param_array.length = 0;

param_array.sequence = NULL;

if (dev_putget (device, DevReadSigValues, NULL, D_VOID_TYPE,

&param.array, D_VAR_FLOATARR, &error) != DS_OK)

{

dev_printerror_no (SEND, "DevReadSigValues", error);

break;

}

/*

* Read the signal properies to display the values.

*/

sig_config.length = 0;

sig_config.sequence = NULL;

if (dev_putget (device, DevGetSigConfig, NULL, D_VOID_TYPE,

&sig_config, D_VAR_STRINGARR, &error) != DS_OK)

{

dev_printerror_no (SEND, "DevGetSigConfig", error);

break;

}

/*

* Find the label format and unit for the signal values.

*/

nu_of_properties = atol (sig_config.sequence[0]);

nu_of_signals = (sig_config.length - 1) / nu_of_properties;

printf ("Device parameters:\n");

for (i=0; i<nu_of_signals; i++)

{

sprintf (format, "%24s [%2s] : %s\n",

sig_config.sequence[(i*nu_of_properties) + 2],

sig_config.sequence[(i*nu_of_properties) + 3],

sig_config.sequence[(i*nu_of_properties) + 4]);

printf (format, param.array.sequence[i]);

}

/*

* Free the allocated arrays.

*/

if ( dev_xdrfree (D_VAR_FLOATARR, &param_array, &error) != DS_OK )

{

dev_printerror_no (SEND, "dev.xdrfree", error);

}

if ( dev_xdrfree (D_VAR_STRINGARR, &sig_config, &error) != DS_OK )

{

dev_printerror_no (SEND, "dev_xdrfree", error);

}

break;

\endcode

\section signal_interface_to_hdb The Signal Interface to HDB

An entry point to the HDB signal library was developed to allow signal configuration

in HDB with the same names as they are known in a device class. Using

\c dev_get_sig_config() in the HDB signal library and storing the result of the command

\c DevReadSigValues in the data collector, all signals configured for a device class

(in the device server) are dynamically available in HDB with the same names and

descriptions.

But, today the HDB signal library still needs for dynamic loading one module for

each device class. It is just a question of copy and paste to install such a module

for a device class using the signal interface, but it implies recompilation of the

HDB signal library. Studies are going on to change this to avoid recompilation and

reinstallation of the HDB signal library in the future.

Here is an example module for the HDB signal library. This can be copied, but the

function names must be changed to the class name the new module will be used for.

\code

#include <API.h>

#include <siggen.h>

/*

* function prototypes

*/

long RF_FOCUS_load_type (long *error);

long RF_FOCUS_signal_list_init (char *device_name,

SigDefEntry **signal_list_ptr,

long *n_signal,

long *error);

extern long signal_list_init (char *device_name,

SigDefEntry **signal_list_ptr,

long *n_signal,

long *error);

/*

* The load type function

*/

long RF_FOCUS_load_type (long *error)

{

return (DS_OK);

}

/*

* Dynamic signal initialisation function.

* Uses signals defined on the device server level.

*/

long RF_FOCUS_signal_list_init (char *device_name,

SigDefEntry **signal_list_ptr,

long *n_signal,

long *error)

{

/*

* calls the general signal init function, which is

* used for all classes which implement signals on

* the device server level.

*/

if ( signal_list_init (device_name, signal_list_ptr,

n_signal, error) == DS_NOTOK )

{

return (DS_NOTOK);

}

return (DS_OK);

}

\endcode

\section Conclusion

The device server signal interface was developed for the SRRF project and was

adapted mainly to the project needs. But, I see it as a useful extension to

other device server classes. The advantage of using signals is that you can

immediately profit from generic plotting and display programs like fsigmon

and xtuning. Contact meyer@esrf.fr or pons@esrf.fr for more information on

these programs.

*/