----- file created by makedoc on: Thu Jul 20 11:12:52 2000

----- Documentation for ./crl.pro -----

==================================   CRL   ====================================

CRL is an widget based graphical interface to calculate the parameters

of Compound Refractive Lenses (CRL).

Two kind of calculations are allowed:

i) main parameters (focal distances, gain, acceptance, etc.)

(calculated using Refs. 1 & 2)

ii) Pseudo-Ray-Tracing to compute the beam profile at the image

plane and the phase-space plot.

(calculated using Ref. 2, formulas 9 and 32 for cylindrical

and parabolic lenses, respectively).

Reference 1:

A. Snigirev, V. Kohn, I. Snigireva, A. Souvorov and B. Lengeler:

"Focusing High Energy X-rays by Compound Refractive Lenses",

Applied Optics 37 (1998) pp. 653-662)

Reference 2:

P. Elleaume:

Nucl. Instrum. and Meth in Phys. Research A 412 (1998) pp. 483-506

DESCRIPTION OF THE CONTROLS IN THE MAIN WINDOW:

File:

CRL input parameters: This option allows to save the current

parameters to a file for later loading. It also allows

to save the current parameters as defaults for being

used when the application is initialized. In the last

case, the file is named "application".xop (where

"application " is the name of the current XOP

application) and is written in the directory pointed

by the XOP_DEFAULTS_DIR environment variable (which

must be set). The parameter file is ASCII and can be

read and edited with care.

Quit: to exit from the program

Set_Parameters:

Set Parameters: to define the parameters for the calculation.

The same result is obtained pressing the "Set Parameters"

button in the main CRL window.

Please refer to the information under the HELP

button for a complete description of the parameters. After

pressing the "GO CALCULATE" button, CRL starts running.

Note that, differently from most of other XOP applications,

this "Set Parameters" window is a non-modal window.

Set Defaults: Sets the default parameters.

Help:   Shows the CRL help (this text).

COPYRIGHT:

CRL  belongs to XOP package and it is distributed within XOP.

PLEASE REFER TO THE XOP COPYRIGHT NOTICE BEFORE USING IT.

CREDITS:

Published calculations made with XOP should refer:

M. Sanchez del Rio and R. J. Dejus "XOP: Recent Developments"

SPIE proceedings vol. 3448, pp.340-345, 1998.

In addition, published calculations with the CRL aplication may

also cite the reference mentioned before.

LAST MODIFICATION: msr/msr/99-03-16