----- file created by makedoc on: Thu Jul 20 11:12:50 2000

----- Documentation for /pgexp/applications1/XRayOptics/xop/src_idl/dabax/xcrosssec.pro -----

==================================  XCrossSec      ============================

XCrossSec is a widget based graphical interface to calculate Photon-Atom

Cross Sections, Mass Absorption Coefficients amd Liner Absorption Coeff.

for elements, compounds and mixtures.

The data are taken from the DABAX data base.

It uses the following DABAX files:

CrossSec_*.dat  (for tabulated Cross Sections.

Presently *={EPDL,XCOM,McMaster}

Compounds.dat   (for mixture and compounds list)

AtomicConstants.dat (for atomic Mass and Density)

Possible calculations:

Cross Section [barn/atom]

Cross Section [cm^2]

Mass Absorption Coefficient [cm^2/g]

Linear Absorption Coefficient [cm^-1]

Energy Transfer (Linear and Mass) Coeff [cm^2/g,cm^-1]: This

option is only allowed by using the DABAX file

CrossSec_EDPL.dat, where these values are tabulated.

See doc on this file for additional information.

CUSTOMIZATION OF XCROSSSEC INPUT PARAMETERS:

-If you want to add(remove) another CrossSec_* file, just add(remove) it

in any(all) directory of $DABAX_PATH. Note that the CrossSec

files containing all the partial cross section (the ones used

here) only have a single underscore (_). Restart the application.

Please consider that:

> In order to facilitate the fast access, the first time the

new file is called, a new file <file>.HIdl is created which

contains the files indeces. If you do not have write permission

on that directory, the file is not created, and the access is

much slower.

> Under Windows95/NT, a file containing the list of the files

MUST exist and is called "dabax.lis". This file must be updated

when adding new files. The file "dabax.lis" is optional under

UNIX. It may be used to define the order in which the files are

presented in the menus.

-If you want to modify the mixture table  list, do the following:

> a) copy the Compounds.dat DABAX file to a given directory

(e.g., current directory ".")

> b) Modify this file to add/remove/change the entries.

> c) Redefine $DABAX_PATH to include your new directoty:

setenv  DABAX_PATH = .:$DABAX_PATH

> d) Restart the application.

Please note that under Windows, the DABAX_PATH only can hold one

directory, so all changes must be done on the original DABAX

directory.

DESCRIPTION OF THE CONTROLS IN THE MAIN WINDOW:

File:

XCrossSec input parameters: This option allows to save the current

parameters to a file for later loading. It also allows

to save the current parameters as defaults for being

used when the application is initialized. In the last

case, the file is named "application".xop (where

"application " is the name of the current XOP

application) and is written in the directory pointed

by the XOP_DEFAULTS_DIR environment variable (which

must be set). The parameter file is ASCII and can be

read and edited with care.

Quit: to exit from the program

Set_Parameters:

Set Parameters: to define the parameters for the calculation.

The same result is obtained pressing the "Set Parameters"

button in the main XCrossSec window.

Please refer to the information under the HELP

button for a complete description of the parameters. After

pressing the ACCEPT button, xcrosssec starts running and

creates a graphic window with the results.

Set Defaults: Sets the default parameters.

Help:   Shows the XCrossSec help (this text).

COPYRIGHT:

xcrosssec  belongs to XOP package and it is distributed within XOP.

PLEASE REFER TO THE XOP COPYRIGHT NOTICE BEFORE USING IT.

CREDITS:

Published calculations made with XOP should refer:

M. Sanchez del Rio and R. J. Dejus "XOP: Recent Developments"

SPIE proceedings vol. 3448, pp.340-345, 1998.

LAST MODIFICATION: msr/msr/99-03-16