----- file created by makedoc on: Thu Jul 20 11:13:13 2000

----- Documentation for /pgexp/applications1/XRayOptics/xop/src_idl/sources/xtc.pro -----

====================================  Xtc   ===================================

Xtc is an widget based graphical user interface to calculate on-axis

brilliance tuning curves for an ideal undulator insertion device using

the Bessel function approximation (regular planar device or helical device).

The calculation is performed by the program TC ("tuning curves") which is

executed from the XTC interface. The effects of the particle beam

emittance and beam energy spread are taken into account.

DESCRIPTION OF THE CONTROLS IN THE MAIN WINDOW:

File:

Xtc input parameters: This option allows to save the current

parameters to a file for later loading. It also allows

to save the current parameters as defaults for being

used when the application is initialized. In the last

case, the file is named "application".xop (where

"application " is the name of the current XOP

application) and is written in the directory pointed

by the XOP_DEFAULTS_DIR environment variable (which

must be set). The parameter file is ASCII and can be

read and edited with care.

TC file: This option allows to load/write the current parameter

and result files for further calculations. The used file

formats are those used by TC. Therefore, they

can be used to run TC without the interface or to

import TC files created outside the XTC application.

Quit: to exit from the program

Set_Parameters:

Set Parameters: to define the parameters for the calculation.

The same result is obtained pressing the "Set Parameters"

button in the main XTC window.

Please refer to the information under the HELP

button for a complete description of the parameters. After

pressing the ACCEPT button, TC starts running.

Set Defaults: Sets the default parameters.

Show: Display results

Plot ...: Plots the different TC results.

View Results: Displays the TC result file, tc.out, in a scrollable

window. The file may be printed from this window.

Help:   Shows the TC help and the XTC help (this text).

COPYRIGHT:

xtc  belongs to XOP package and it is distributed within XOP.

PLEASE REFER TO THE XOP COPYRIGHT NOTICE BEFORE USING IT.

CREDITS:

Published calculations made with XOP should refer:

M. Sanchez del Rio and R. J. Dejus "XOP: Recent Developments"

SPIE proceedings vol. 3448, pp.340-345, 1998.

LAST MODIFICATION: msr/rjd/00-07-12