----- file created by makedoc on: Thu Jul 20 11:12:49 2000

----- Documentation for /pgexp/applications1/XRayOptics/xop/src_idl/dabax/f0_calc_mix.pro -----

NAME:

F0_CALC_MIX

PURPOSE:

calculate the elastic Photon-Atom F0 coefficient

as a function of ratio = sin(theta)/lambda[Angs]

for compounds and mixtures.

It users data from DABAX data-base.

CATEGORY:

X-Ray optics. DABAX data base.

CALLING SEQUENCE:

out = f0_calc_mix(input,descriptor[,ratio])

INPUTS:

input: a dabax input file for f0 data as accepted by dabax_access().

descriptor: a string  with either the descriptor or the name of the

mixture.

The descriptor sintax is the following:

string with the chemical formula of the compounds with their weight

fraction between parenthesis.

Descriptor examples:

SiO2(0.807)B2O3(0.129)Na2O(0.038)Al2O3(0.022)K2O(0.004)

H2O(0.99)Cl2(0.01)

H(0.11189834)O(0.88810166)

The name is one of the names defines in the DABAX file Compounds.dat

When using the name input option, the keyword NAME must be set.

OPTIONAL INPUTS:

ratio: if undefined, it uses the standard ratio grid,

which is the grid in the data file for the tabulated

cases, and  dindgen(100)/99.*3.0 for the parametrized

data. When ratio is defined, this value is used as a grid

for the results (it interpolates in the case of

tabulated data)

KEYWORDS:

NAME: Set this keyword to a valid mixture name in the file

Compounds.dat. If not set, it will interpret

"descriptor" as a mixture formula.

GROUP = The widget ID of the widget that calls the routine.

This is passed to widget_message in its dialog_parent

keyword to center the window message.

OUTPUT:

out: an array with the F0 values for the selected mixture.

PROCEDURE:

Calls f0_calc for each element of the compound and make the

weighted average.

EXAMPLES:

delvar,ratio ; cleans energy variable

f0 = f0_calc_mix('f0_CromerMann.dat','water',ratio,/NAME)

plot,ratio,f0

; the same resul can be get with:

f0 = f0_calc_mix('f0_CromerMann.dat','H2O',ratio)

;or

f0 = f0_calc_mix('f0_CromerMann.dat','H(0.11189834)O(0.88810166)',ratio)

MODIFICATION HISTORY:

96-12-03 Written by M. Sanchez del Rio (srio@esrf.fr)

97-02-20 MSR ports to Windows95.

97-10-16 srio@esrf.fr adds GROUP keyword.