Menu Mode for Unix SHADOW:

A menu mode has been developed for the unix versions of SHADOW that echos

the functionality of the MENU in VMS.  It has the same look and feel with

a few differences:

- directory specifications are operating system dependent

- movement within the menu is accomplished with the following

keys:

up: <ctrl> P

down: <ctrl> N

right (down a menu level): >

left (back to previous menu): <

The Primer has detailed instructions for getting started with the MENU mode.

The following will give the brief description of the basic commands.

% menu

Ready: at this level you can

load (source, system, oe)  -- read from existing START.xx files to

make modifications.

define (oe, screen)        -- creates new elements

select (source, oe)        -- select source or element for

modification.

delete (oe, screen)        -- delete a screen or element

save (source, system, oe)  -- save modifications, write systemfile

list                       -- list elements and screens

goto                       -- goto an element

exit                       -- exit menu mode

Example:

% menu

Ready: sel source

This will put you into the top level menu for the source.  Descriptions

with (+) at the end of the line have a layer of menu beneath them.  To get

to that layer type >, to return to a previous menu, or exit to the Ready:

prompt, type <.