==============================  xmlayer   =====================================

Mlayer is a widget based graphical interface to calculate multilayer

reflectivities as a function of either the photon energy or incident angle.

The mlayer code has been witten by J.H. Underwood at CXRO and is part of the

SHADOW package. M. Sanchez del Rio has modified it to directly call the SHADOW

optics library, which gives correct values of refraction indeces when the

energy is scanned.  M. Sanchez del Rio has also writen this graphic interface

called mlayer too.

Note: The funnctionality of this code is quite limited. A much more

performant code for multilayer calculations is IMD, available as an XOP

extension.

DESCRIPTION OF THE CONTROLS IN THE MAIN WINDOW:

File:

MLayer input parameters: This option allows to save the current

parameters to a file for later loading. It also allows

to save the current parameters as defaults for being

used when the application is initialized. In the last

case, the file is named "application".xop (where

"application " is the name of the current XOP

application) and is written in the directory pointed

by the XOP_DEFAULTS_DIR environment variable (which

must be set). The parameter file is ASCII and can be

read and edited with care.

Quit: to exit from the program

Set_Parameters:

Set Parameters: to define the parameters for the calculation.

The same result is obtained pressing the "Set Parameters"

button in the main mlayer window.

Please refer to the information under the HELP

button for a complete description of the parameters. After

pressing the ACCEPT button, mlayer starts running.

Set Defaults: Sets the default parameters.

Show: Display results

Plot Results: Plots the mlayer results.

Help:   Shows the mlayer help (this text).

COPYRIGHT:

mlayer belongs to XOP package and it is distributed within XOP.

PLEASE REFER TO THE XOP COPYRIGHT NOTICE BEFORE USING IT.

CREDITS:

Published calculations made with XOP should refer:

M. Sanchez del Rio and R. J. Dejus "XOP: Recent Developments"

SPIE proceedings vol. 3448, pp.340-345, 1998.

In addition, published calculations using the mlayer aplication

should also cite:

C. Welnak, G.J. Chen and F. Cerrina, "SHADOW: a synchrotron radiation

X-ray Optics simulation tool",

Nucl. Instr. and Meth. in Phys. Res. A347 91994) 344

or

SHADOW WEB Page: http://www.xraylith.wisc.edu/shadow/shadow.html

LAST MODIFICATION: msr/msr/99-03-16