----- file created by makedoc on: Thu Feb 18 11:00:39 1999

----- Documentation for /EXPG/lib/idl.expg/specaccess/spec_scan.pro -----

NAME:

SPEC_SCAN()

PURPOSE:

This function returns a vector loaded with the numbers of a group of

scans in a SPEC file.

The values returned correspond to either the numbers ('#S' lines) of

the scans or their indexes (relative position in the file).

This function can be used to check if a scan or group of scans exist

in a SPEC data file before calling any other function of the library.

CATEGORY:

Input/Output.

CALLING SEQUENCE:

Result = SPEC_SCAN(Handle, ScanList [, ErrMsg])

INPUTS:

Handle   - Handle to the SPEC data file initialised by a previous call

to SPEC_ACCESS().

ScanList - List of scans in the SPEC data file. ScanList can be a

scalar or an array. In the case of arrays all the elements

are included in the list. ScanList can also be of numeric

or string type.

When using character strings one can specify a group of

consecutive scans in compressed form using the syntax

`first-last'. If `first' or `last' are not specified they

are defaulted to the first and last scan in the file. It is

also possible to include several scans or groups of scans

in a single string by using commas or white spaces as

separators.

The values in ScanList follow the same convention used for

scan identifiers (see the `SCAN IDENTIFIERS' section at the

beginning of this file). By default, numeric values are

interpreted as SPEC scan numbers, but this behaviour is

changed by the INDEX keyword.

KEYWORDS:

INDEX:  Set this keyword to interpret the numeric values in ScanList

as the indexes of the scans instead of as scan numbers.

Care must be taken when using indexes in strings that specify

groups of scans. In order to allow the use of negative indexes

the sign of the index must be explicitly included when the

expression can be ambiguous. As an example compare the

following expressions when INDEX is set:

'-2'    represents the scan before the last one (index=-2).

'--2'   represents the scans from the first to the one

before the last (index=1 to index=-2).

'-+2'   represents the first two scans in the file

(index=1 to index=2).

RETURN_INDEX: Set this keyword to return the index of the scans instead

of the scan numbers.

OCCURRENCE: Set this keyword to return the scan number and the scan

occurrence in the format SSSS.OO as explained in the `SCAN

IDENTIFIERS' section at the beginning of this file). This

keyword has not any effect if RETURN_INDEX is also set.

STRING: Set this keyword to force the output as a string vector instead

of float.

NO_EMPTY: Set this keyword to make the output value of the function

refer only to those scans that actually contain standard data

columns, excluding the empty ones.

MCDATA: Set this keyword to make the output value of the function

refer only to those scans that contain multichannel data.

NO_RANGE: Set this keyword to force the function to accept only

single scans as input instead of lists.

OUTPUT:

If there is no error this function returns a vector that contains the

list of scans specified in ScanList. If any of the scans is not found

or any other error occurs, the function return -1.

OPTIONAL OUTPUTS:

ErrMsg  - Error message if an error occurs.

SIDE EFFECTS:

The `current' scan is set to the last scan in the list.

RESTRICTIONS:

This function requires a valid handle to a SPEC data file obtained by

a previous call to SPEC_ACCESS().

EXAMPLE:

To print the number of most recently accessed scan, enter:

PRINT, SPEC_SCAN(OldHandle, 'current')

______________________________________________________________________________