----- file created by makedoc on: Thu Jul 20 11:13:03 2000

----- Documentation for /pgexp/applications1/XRayOptics/xop/src_idl/wutil/xspec.pro -----

=================================  Xspec ===============================

Xspec is a widget based graphical interface to visualize data

stored in SPEC files.

The main window contains the following controls

FILE Menu:

LOAD SPEC FILE...: To Load a Spec File with Data.

When selecting a file with the Load File window,

The different names of scans appear in a list

widget in the main window. Click a given one

and use the buttons Header and Plot.

EXIT:	Exit or Quit the program

TOOLS Menu:

XSPEC (Empty): Create a new (empty) window of Xspec

XPLOT (Empty): Create a new (empty) window of XPlot

HELP:   Shows this text (Xspec) or the documentation of

SPEC_ACCESS

CONTROL BUTTONS:

HEADER:  Opens a text window with the contents of the

header of the selected scan.

PLOT: Send the data of the scan to Xplot for graphical

visualization and analysis. Displays also a text

window containing the scan column numbers and their

labels. This is useful to identify the meaning of the

column number from the Xplot window.

The displayed column in Xplot are the first one for

the X coordinate and the last one for the Y coordinate.

The column selection can be changed from the Xplot

window.

A list widget with the scan list names is presented below

the buttons. Click a given one  to select it and then use

the HEADER or the PLOT button. Double-click makes the same

effect that single click (Selection) plus pressing the PLOT

button.

MODIFICATION HISTORY:

by  Manuel Sanchez del Rio. ESRF. September 1995

It uses SPEC_ACCESS (P. Fajardo) and XPLOT (M. Sanchez del Rio)

October-1995. MSR New version.

November-1995 MSR Xspec is obsolete: All its functionality has

been improved and integrated in xplot2.1