================================   xtubes   ====================================

xtubes is an widget based graphical interface to calculate the spectum

of an X-ray tube with Mo, Rh or W target in the energy range 18-40 keV.

It uses the method descibed in the manuscript:

"Molybdenum, rhodium, and tungsten anode spectral models using interpolating

polynomials with application to mammography"

J.M. Boone T.H. Fewell and R. J. Jennings

Medical Physics 24(12) pp. 1863-1874, 1997.

The program interfaced by XTubeW has been downloaded from:

ftp://ftp.aip.org/epaps/medical-phys/E-MPHYA-24-1863

DESCRIPTION OF THE CONTROLS IN THE MAIN WINDOW:

File:

xtubes input parameters: This option allows to save the current

parameters to a file for later loading. It also allows

to save the current parameters as defaults for being

used when the application is initialized. In the last

case, the file is named "application".xop (where

"application " is the name of the current XOP

application) and is written in the directory pointed

by the XOP_DEFAULTS_DIR environment variable (which

must be set). The parameter file is ASCII and can be

read and edited with care.

Write Files for XOP/Optics: Saves the current undulator

spectrum in the SRCOMPE (flux) and SRCOMPW (Power) files

to be used for the other XOP application from Optics

menu.

Quit: to exit from the program

Set_Parameters:

Set Parameters: to define the parameters for the calculation.

The same result is obtained pressing the "Set Parameters"

button in the main xtubes window.

Please refer to the information under the HELP

button for a complete description of the parameters. After

pressing the ACCEPT button, xtubes starts running.

Set Defaults: Sets the default parameters.

Show: Display results

Plot Results: Plots the xtubes results.

Help:   Shows the xtubes help (this text).

COPYRIGHT:

xtubes  belongs to XOP package and it is distributed within XOP.

PLEASE REFER TO THE XOP COPYRIGHT NOTICE BEFORE USING IT.

CREDITS:

Published calculations made with XOP should refer:

M. Sanchez del Rio and R. J. Dejus "XOP: Recent Developments"

SPIE proceedings vol. 3448, pp.340-345, 1998.

In addition, published calculations using the xtubes aplication

should also cite:

J.M. Boone T.H. Fewell and R. J. Jennings "Molybdenum, rhodium, and

tungsten anode spectral models using interpolating polynomials with

application to mammography"

Medical Physics 24(12) pp. 1863-1874, 1997.

LAST MODIFICATION: msr/msr/99-03-16