----- file created by makedoc on: Thu Jul 20 11:13:11 2000

----- Documentation for /pgexp/applications1/XRayOptics/xop/src_idl/sources/xurgent.pro -----

==============================  Xurgent   =====================================

Xurgent is an widget based graphical interface to calculate

spectra of an undulator insertion devices.

It interfaces the program URGENT written by R.P.Walker and B.Diviacco

(see Help/Urgent)

DESCRIPTION OF THE CONTROLS IN THE MAIN WINDOW:

File:

Xurgent input parameters: This option allows to save the current

parameters to a file for later loading. It also allows

to save the current parameters as defaults for being

used when the application is initialized. In the last

case, the file is named "application".xop (where

"application " is the name of the current XOP

application) and is written in the directory pointed

by the XOP_DEFAULTS_DIR environment variable (which

must be set). The parameter file is ASCII and can be

read and edited with care.

Urgent file: This option allows to load/write the current parameter

and result files for further calculations. The used file

formats are those used by URGENT. Therefore, they

can be used to run URGENT without the interface or to

import URGENT files created outside the XUrgent application.

Write Files for XOP/Optics: Saves the current undulator

spectrum in the SRCOMPE (flux) and SRCOMPW (Power) files

to be used for the other XOP application from Optics

menu.

Quit: to exit from the program

Set_Parameters:

K(gap) Tool: This tool permits to calculate the deflection

parameter K as a function of the magnet gap.

Set Parameters: to define the parameters for the calculation.

The same result is obtained pressing the "Set Parameters"

button in the main XUrgent window.

Please refer to the information under the HELP

button for a complete description of the parameters. After

pressing the ACCEPT button, URGENT starts running.

Set Defaults: Sets the default parameters.

Show: Display results

Plot Results: Plots the URGENT results.

Show Numerical Results: Displays the URGENT result file.

Help:   Shows the URGENT help and the XURGENT help (this text).

COPYRIGHT:

xurgent  belongs to XOP package and it is distributed within XOP.

PLEASE REFER TO THE XOP COPYRIGHT NOTICE BEFORE USING IT.

CREDITS:

Published calculations made with XOP should refer:

M. Sanchez del Rio and R. J. Dejus "XOP: Recent Developments"

SPIE proceedings vol. 3448, pp.340-345, 1998.

In addition, published calculations using the URGENT aplication

should also cite:

R.P.Walker and B.Diviacco, "Urgent- A computer program for

calculating undulator radiation spectral, angular, polarization,

and power density properties.

Rev. Sci. Instrum. 63(1), pp. 392-395, 1992.

LAST MODIFICATION: msr/msr/00-06-14