----- file created by makedoc on: Thu Jul 20 11:13:12 2000

----- Documentation for /pgexp/applications1/XRayOptics/xop/src_idl/sources/xus.pro -----

===============================  Xus   ========================================

Xus is an widget based graphical user interface to calculate

spectral properties of ideal undulator insertion devices.

DESCRIPTION OF THE CONTROLS IN THE MAIN WINDOW:

File:

Xus input parameters: This option allows to save the current

parameters to a file for later loading. It also allows

to save the current parameters as defaults for being

used when the application is initialized. In the last

case, the file is named "application".xop (where

"application " is the name of the current XOP

application) and is written in the directory pointed

by the XOP_DEFAULTS_DIR environment variable (which

must be set). The parameter file is ASCII and can be

read and edited with care.

US file: This option allows to load/write the current parameter

and result files for further calculations. The used file

formats are those used by US. Therefore, they

can be used to run US without the interface or to

import US files created outside the XUS application.

Write Files for XOP/Optics: Saves the current undulator

spectrum in the SRCOMPE (flux) and SRCOMPW (Power) files

to be used for the other XOP application from Optics

menu.

Quit: to exit from the program

Set_Parameters:

Set Parameters: to define the parameters for the calculation.

The same result is obtained pressing the "Set Parameters"

button in the main XUS window.

After pressing the ACCEPT button, US starts running.

Set Defaults: Sets the default parameters.

Show: Display results

Plot ...: Plots the US results.

View Results: Displays the US result file.

Help:   Shows the US help and the XUS help (this text).

COPYRIGHT:

XUS  belongs to XOP package and it is distributed within XOP.

PLEASE REFER TO THE XOP COPYRIGHT NOTICE BEFORE USING IT.

CREDITS:

Published calculations made with XOP should refer:

M. Sanchez del Rio and R. J. Dejus "XOP: Recent Developments"

SPIE proceedings vol. 3448, pp.340-345, 1998.

In addition, published calculations using the US aplication

may also cite:

P. Ilinski, R.J. Dejus, E. Gluskun and T. I. Morrison

SPIE proceedings vol. 2856, pp.15-25, 1996.

KNOWN BUGS:

When a us calculation producing 3D results is run, the Show/Plot 2D

menu gives wrong results (MSR 98-12-04).

LAST MODIFICATION: rjd/msr/00-07-12