----- file created by makedoc on: Thu Jul 20 14:46:21 2000

----- Documentation for /pgexp/applications1/XRayOptics/shadowvui/vui/xsh_srcomp.pro -----

===========================  XSh_srcomp   =========================

Xsrcomp is an widget based graphical interface to calculate

the spectrum of a Bending Magnet Synchrotron Radiation source.

It interfaces the program SRCOMP, a part of the ray-tracing package SHADOW.

It creates an intermediate file SRCOMP which can be used as a source

for TRANSMIT. The SRCOMP file is deleted when QUITing Xsrcomp.

The main window contains four buttons:

FILE:

LOAD INPUT FILE: Reads a srcomp input file.

SAVE INPUT DATA AS: Writes a srcomp input data into a file.

WRITE FILES FOR XOP/OPTICS: This option permits to

write the files XSH_SRCOMPE and XSH_SRCOMPW to disk. These

files contain the spectra in #photons/sec/0.1%bw and in

Watts/eV respectively. They may be used by other applications

as for example, transmit, or for any other purpose.

QUIT: to exit from the program

SET PARAMETERS: to define the parameters for the calculation

MACHINE NAME:	just fill the name.

B FROM: For selecting B field from either Magnetic

radius of the bending magnet or magnetic field.

MAGNETIC FIELD: The magnetic field of the bending

magnet in Tesla.

MACHINE RADIUS:	The radius of the Bending

Magnet in meters.

BEAM ENERGY:	The electron energy in GeV.

(The three precedent parameters are related by:

Radius [m] = 3.336 * Energy[GeV] / B[Tesla])

BEAM CURRENT:	The electron beam current in Ampers.

HORIZ DIV:	The horizontal divergence in mrad.

MIN PHOTON ENERGY: 	Minimum photon energy for the

calculated spectrum, in eV.

MAX PHOTON ENERGY: 	Maximum photon energy for the

calculated spectrum, in eV.

PHOTON ENERGY STEP: 	Step energy for the calculated

spectrum, in eV.

VERT DIV:  Vertical divergence of the photon beam

accepted (write a big number for considering all the beam).

SHOW: Produces a graphic of the Bending Magnet spectrum. The

user can select the units.

HELP:   Shows this text

----------------------------------------------------------------------

Author: M. Sanchez del Rio (srio@esrf.fr) , ESRF, Nov 1993

Modification history:

20/9/94	F.L add "load input file" option

29/9/94	F.L add "save input file as..." option

25/10/94 MSR remove common blocks and makes some cosmetics.

Reads default input structure from XOP_DEFAULTS.

96/01/19 MSR changes labels Xtransmit -> XOP/Optics

96/06/26 MSR includes the possibility of setting the magnetic

field instead the magnetic radius. Xplot log default graphs.

97/01/23 MSR ports to Windows95. Cosmetics. Version 1.2.

97/10/01 MSR renames read_ascii by rascii. Get the default

structure from shadow_defaults() instead of xop_defaults()

Makes use of SDEP(). Considered obsolete XOP application

(substituted by BM).

97/10/02 MSR makes use of xop_wd,/default

97/12/05 MSR renames to xsh_srcomp and adapts it for being used in

the SHADOW-GUI. Version 1.3.

00/29/06 MSR allows passing input parameters as an argument

(to be called from xsh_source)